## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-08-21 | ug/L | 0.66372 | 2013-08-08 07:00 | 20132210040 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66372 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 2 | 0.60226 | 0.086911 | 0.60226 | 0.12291 | 0.091112
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-05-09 | ug/L | 0.54081 | 2014-03-06 08:30 | 20140650078 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 100 µl & Accu 213041004: 100 µl | 2.034 | ANTHRAQUINONE | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54081 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 2 | 0.60226 | 0.086911 | 0.60226 | 0.12291 | 0.091112
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-02-12 | ug/L | 0.73892 | 2013-12-12 06:00 | 20133470006 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73892 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.73892 |  | 0.73892 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-05 | ug/L | 0.7947 | 2012-10-18 06:00 | 20122930149 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.51 | ANTHRAQUINONE | E | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7947 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.7947 |  | 0.7947 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-05-15 | ug/L | 0.76159 | 2013-04-11 06:00 | 20131020083 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.302 | ANTHRAQUINONE | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76159 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Estimated Values | Y | 2 |  | 1 | 0.76159 |  | 0.76159 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-07 | ug/L | 0.82781 | 2012-06-14 06:00 | 20121670020 | Abs | 051112 | Abs 051112: 20 µl | 0.302 | ANTHRAQUINONE | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82781 | Abs 051112 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.82781 |  | 0.82781 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-08 | ug/L | 0.97185 | 2012-01-12 06:00 | 20120120070 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97185 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.93834 | 0.072394 | 0.95509 | 0.10054 | 0.074526
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-09 | ug/L | 0.8378 | 2012-02-09 06:00 | 20120400057 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1936 | ANTHRAQUINONE | E | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8378 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.93834 | 0.072394 | 0.95509 | 0.10054 | 0.074526
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-19 | ug/L | 0.93834 | 2012-03-15 06:30 | 20120760114 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93834 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.93834 | 0.072394 | 0.95509 | 0.10054 | 0.074526
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-06-13 | ug/L | 1.0054 | 2012-05-03 06:00 | 20121250042 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1936 | ANTHRAQUINONE | E | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0054 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.93834 | 0.072394 | 0.95509 | 0.10054 | 0.074526
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-08-20 | ug/L | 0.71288 | 2013-07-18 06:00 | 20132000020 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71288 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 2 | 0.63913 | 0.10429 | 0.63913 | 0.14749 | 0.10933
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-05-09 | ug/L | 0.56539 | 2014-02-27 07:00 | 20140590010 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56539 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 2 | 0.63913 | 0.10429 | 0.63913 | 0.14749 | 0.10933
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-12-05 | ug/L | 0.66995 | 2013-10-31 06:00 | 20133050051 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.015 | ANTHRAQUINONE | E | 0.16 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66995 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.66995 |  | 0.66995 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-08 | ug/L | 1.0596 | 2012-07-12 06:30 | 20121950065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0596 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-02-27 | ug/L | 0.66225 | 2013-01-17 06:00 | 20130180028 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.755 | ANTHRAQUINONE | E | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66225 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-04-16 | ug/L | 0.92715 | 2013-02-28 06:30 | 20130590065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92715 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-06 | ug/L | 0.93396 | 2012-10-04 06:00 | 20122790025 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.499 | ANTHRAQUINONE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93396 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93396 |  | 0.93396 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-09 | ug/L | 0.90236 | 2012-02-02 11:40 | 20120370004 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90236 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82155 | 0.073767 | 0.82828 | 0.10774 | 0.07987
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-18 | ug/L | 0.72727 | 2012-03-08 06:00 | 20120690029 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72727 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82155 | 0.073767 | 0.82828 | 0.10774 | 0.07987
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-18 | ug/L | 0.80808 | 2012-02-23 06:30 | 20120540034 | Restek | A075799 | Restek A075799: 20 µl | 0.297 | ANTHRAQUINONE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82155 | 0.073767 | 0.82828 | 0.10774 | 0.07987
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-06-15 | ug/L | 0.84848 | 2012-05-31 06:00 | 20121520249 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82155 | 0.073767 | 0.82828 | 0.10774 | 0.07987
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-02-12 | ug/L | 0.81121 | 2014-01-02 06:00 | 20140030012 | Spex Organics, Accu | T1130531001, 213041004 | Spex Organics T1130531001: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81121 | SpT111001, Ac2131004 | Sp | Ac | Ac | T111001 | 2131004 | 2131004 | T111001 | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.81121 |  | 0.81121 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-09-24 | ug/L | 0.64039 | 2013-08-29 06:00 | 20132420002 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64039 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 2 | 0.64039 | 0 | 0.64039 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-05-09 | ug/L | 0.64039 | 2014-04-03 06:30 | 20140930051 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64039 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 2 | 0.64039 | 0 | 0.64039 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-05 | ug/L | 1.0596 | 2012-11-15 06:30 | 20123200135 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0596 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Estimated Values | Y | 1 |  | 1 | 1.0596 |  | 1.0596 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-08 | ug/L | 1.0674 | 2012-06-28 06:30 | 20121810018 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2998 | ANTHRAQUINONE | E | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0674 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0674 |  | 1.0674 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-30 | ug/L | 0.86724 | 2012-07-26 06:00 | 20122090058 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86724 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-01-23 | ug/L | 0.62708 | 2012-11-29 06:30 | 20123350008 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62708 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-04-16 | ug/L | 0.74716 | 2013-03-14 06:30 | 20130740020 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.7495 | ANTHRAQUINONE | E | 0.16 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74716 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-02-28 | ug/L | 0.86724 | 2013-01-31 06:30 | 20130320041 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86724 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 |  | 1 | 0.86724 |  | 0.86724 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-12-05 | ug/L | 0.6883 | 2013-10-17 06:00 | 20132910009 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6883 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.6883 |  | 0.6883 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-07-11 | ug/L | 0.84236 | 2013-06-20 07:00 | 20131720020 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.015 | ANTHRAQUINONE | E | 0.16 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84236 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 2 | 0.72906 | 0.16023 | 0.72906 | 0.2266 | 0.16798
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-05-09 | ug/L | 0.61576 | 2014-02-06 06:00 | 20140370078 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61576 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 2 | 0.72906 | 0.16023 | 0.72906 | 0.2266 | 0.16798