## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-05-15 | ug/L | 0.9125 | 2013-04-11 06:00 | 20131020083 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9125 |  | 0.9125 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-06-19 | ug/L | 1.004 | 2013-06-06 07:00 | 20131580039 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 2 | 0.90361 | 0.14199 | 0.90361 | 0.2008 | 0.14885
METHYL SALICYLATE | 1433 | 62081GCM37 | 2014-02-12 | ug/L | 0.80321 | 2014-01-16 07:00 | 20140160087 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 100 µl & Abs 040913WWF: 100 µl | 0.498 | METHYL_SALICYLATE | . | 0.044 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80321 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 2 | 0.90361 | 0.14199 | 0.90361 | 0.2008 | 0.14885
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-08-20 | ug/L | 1.004 | 2013-07-18 06:00 | 20132000020 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93373 | 0.099393 | 0.93373 | 0.14056 | 0.1042
METHYL SALICYLATE | 1433 | 62081GCM37 | 2014-05-09 | ug/L | 0.86345 | 2014-02-27 07:00 | 20140590010 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86345 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93373 | 0.099393 | 0.93373 | 0.14056 | 0.1042
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | ug/L | 0.96386 | 2013-10-31 06:00 | 20133050051 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.249 | METHYL_SALICYLATE | . | 0.044 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96386 |  | 0.96386 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-06-18 | ug/L | 0.76305 | 2013-05-23 06:30 | 20131440105 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76305 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76305 |  | 0.76305 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-08 | ug/L | 0.82915 | 2012-07-12 06:30 | 20121950065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82915 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-02-27 | ug/L | 0.70352 | 2013-01-17 06:00 | 20130180028 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70352 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-04-16 | ug/L | 1.0553 | 2013-02-28 06:30 | 20130590065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-10-11 | ug/L | 0.80402 | 2012-09-19 06:00 | 20122640133 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80402 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80402 |  | 0.80402 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-01-23 | ug/L | 0.85427 | 2012-12-13 06:30 | 20123490152 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8794 | 0.035533 | 0.8794 | 0.050251 | 0.037251
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-05-15 | ug/L | 0.90452 | 2013-04-25 06:00 | 20131160078 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90452 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8794 | 0.035533 | 0.8794 | 0.050251 | 0.037251
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-06 | ug/L | 0.95477 | 2012-10-04 06:00 | 20122790025 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 3.98 | METHYL_SALICYLATE | . | 0.044 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95477 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95477 |  | 0.95477 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | ug/L | 1 | 2013-11-14 07:00 | 20133190011 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2014-02-12 | ug/L | 0.9 | 2014-01-02 06:00 | 20140030012 | Spex Organics, Accu | T1130531001, 213041004 | Spex Organics T1130531001: 20 µl & Accu 213041004: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111001, Ac2131004 | Sp | Ac | Ac | T111001 | 2131004 | 2131004 | T111001 | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-09-24 | ug/L | 1 | 2013-08-29 06:00 | 20132420002 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 2 | 1 | 0 | 1 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2014-05-09 | ug/L | 1 | 2014-04-03 06:30 | 20140930051 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 2 | 1 | 0 | 1 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | ug/L | 0.98 | 2013-09-19 06:00 | 20132630003 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.945 | 0.049497 | 0.945 | 0.07 | 0.05189
METHYL SALICYLATE | 1433 | 62081GCM37 | 2014-05-09 | ug/L | 0.91 | 2014-03-13 06:30 | 20140730137 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | METHYL_SALICYLATE | E | 0.044 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.945 | 0.049497 | 0.945 | 0.07 | 0.05189
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-05 | ug/L | 0.975 | 2012-11-15 06:30 | 20123200135 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.975 |  | 0.975 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-10-11 | ug/L | 0.9375 | 2012-08-23 06:00 | 20122370104 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-30 | ug/L | 0.975 | 2012-08-09 06:30 | 20122230022 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-07 | ug/L | 0.975 | 2012-11-01 06:00 | 20123070010 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 4 | METHYL_SALICYLATE | . | 0.044 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-02-28 | ug/L | 0.75 | 2013-02-14 06:30 | 20130460004 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2 | METHYL_SALICYLATE | . | 0.044 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-08 | ug/L | 0.9875 | 2012-06-28 06:30 | 20121810018 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9875 |  | 0.9875 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-03-09 | ug/L | 1.3 | 2012-01-26 06:00 | 20120260059 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1 | 0.17321 | 1 | 0.3 | 0.22239
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-05-08 | ug/L | 1 | 2012-03-29 06:30 | 20120930006 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1 | 0.17321 | 1 | 0.3 | 0.22239
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-05-09 | ug/L | 1 | 2012-04-19 06:00 | 20121110021 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1 | 0.17321 | 1 | 0.3 | 0.22239
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-04-11 | ug/L | 1.2 | 2012-03-01 06:30 | 20120620014 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.075 | 0.17678 | 1.075 | 0.25 | 0.18532
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-06-14 | ug/L | 0.95 | 2012-05-17 06:30 | 20121390008 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.075 | 0.17678 | 1.075 | 0.25 | 0.18532