## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | RANK | Added to list | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout | rank1 | rank2
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-12-18 | ng/L |  | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-12-19 | ng/L |  | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-10-31 | ng/L |  | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 24 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-12-10 | ng/L |  | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-09-25 | ng/L |  | 2013-09-06 07:00 | 20132490346 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 25 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-11-07 | ng/L |  | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2014-01-10 | ng/L |  | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-09-29 | ng/L |  | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2014-02-06 | ng/L |  | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2013-11-21 | ng/L |  | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0
2-CHLORO-4,6-DIAMINO-S-TRIAZINE (CAAT) | 2437 | 68547LCM60 | 2014-01-23 | ng/L |  | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl |  | 2-CHLORO-4,6-DIAMINO-S-TRIAZINE_(CAAT) | < | 24 | 50 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  |  |  | 0