## Ca
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [8 empty] | Statistics |  |  |  |  | SCALE
|  |  | 1 | 2 | 4 | 5 | 6 | 7 | 20 |  | Method Codes | [5 empty] | min | 0.43771
|  | n = | 3 | 1 | 14 | 1 | 2 | 5 | 1 | 01 Atomic absorption: direct, air |  |  | MPV = | 0.53 | mg/L |  | max | 0.62229
|  | Minimum = | 0.513 | 0.55 | 0.485 | 0.506 | 0.491 | 0.42 | 0.48 | 02 Atomic absorption: direct, nitrous oxide |  |  | F-pseudosigma = | 0.030764 |  |  | major | 0.046145
|  | Maximum = | 0.7 |  | 1.22 |  | 0.534 | 8.54 |  | 04 Inductively coupled plasma |  |  | n = | 27 |  |  | minor | 0.046145
|  | Median = |  |  | 0.524 |  |  | 0.53 |  | 05 Direct current plasma |  |  | Uh = | 0.5415
|  | F-pseudosigma = |  |  | 0.02891 |  |  | 0.09192 |  | 06 Inductively coupled plasma/mass spectrometry |  |  | Lh = | 0.5
[10 empty] | 07 Ion chromatography | [6 empty] | Order | 1 | 2 | 4 | 5 | 6 | 7 | 20 | Lab | RV | Rating
[10 empty] | 20 Titration: colorimetric | [6 empty] | 1 | 0.513 | [6 empty] | 1 | 0.506 | 3
[17 empty] | 2 | 0.538 | [6 empty] | 2 | 0.552 | 3
|  |  | Method Codes | [13 empty] | 3 | 0.7 | [6 empty] | 8 | 0.53 | 4
Lab | Rating | Z-value | 1 | 2 | 4 | 5 | 6 | 7 | 20 | [7 empty] | 4 |  | 0.55 | [5 empty] | 23 | 0.513 | 3
1 | 3 | -0.78014 | -- | -- | 0.506 | -- | -- | -- | -- | [7 empty] | 5 |  |  | 0.485 |  |  |  |  | 25 | 0.544 | 4
2 | 3 | 0.71513 | -- | -- | -- | -- | -- | 0.552 | -- | [7 empty] | 6 |  |  | 0.498 |  |  |  |  | 33 | 0.506 | 3
8 | 4 | 0 | -- | -- | 0.53 | -- | -- | -- | -- | [7 empty] | 7 |  |  | 0.5 |  |  |  |  | 38 | 0.55 | 3
23 | 3 | -0.5526 | 0.513 | -- | -- | -- | -- | -- | -- | [7 empty] | 8 |  |  | 0.5 |  |  |  |  | 45 | 0.534 | 4
25 | 4 | 0.45508 | -- | -- | 0.544 | -- | -- | -- | -- | [7 empty] | 9 |  |  | 0.506 |  |  |  |  | 59 | 0.42 | 0
33 | 3 | -0.78014 | -- | -- | -- | 0.506 | -- | -- | -- | [7 empty] | 10 |  |  | 0.509 |  |  |  |  | 64 | 0.538 | 4
38 | 3 | 0.65012 | -- | 0.55 | -- | -- | -- | -- | -- | [7 empty] | 11 |  |  | 0.518 |  |  |  |  | 86 | 0.485 | 2
45 | 4 | 0.13002 | -- | -- | -- | -- | 0.534 | -- | -- | [7 empty] | 12 |  |  | 0.53 |  |  |  |  | 110 | 0.518 | 4
59 | 0 | -3.5757 | -- | -- | -- | -- | -- | 0.42 | -- | [7 empty] | 13 |  |  | 0.53 |  |  |  |  | 138 | 0.498 | 2
64 | 4 | 0.26005 | 0.538 | -- | -- | -- | -- | -- | -- | [7 empty] | 14 |  |  | 0.53 |  |  |  |  | 158 | 0.5 | 3
86 | 2 | -1.4628 | -- | -- | 0.485 | -- | -- | -- | -- | [7 empty] | 15 |  |  | 0.539 |  |  |  |  | 180 | 1.22 | 0
110 | 4 | -0.39007 | -- | -- | 0.518 | -- | -- | -- | -- | [7 empty] | 16 |  |  | 0.544 |  |  |  |  | 190 | 0.509 | 3
138 | 2 | -1.0402 | -- | -- | 0.498 | -- | -- | -- | -- | [7 empty] | 17 |  |  | 0.56 |  |  |  |  | 193 | 0.491 | 2
158 | 3 | -0.97518 | -- | -- | 0.5 | -- | -- | -- | -- | [7 empty] | 18 |  |  | 1.22 |  |  |  |  | 265 | 0.5 | 3
180 | 0 | 22.4292 | -- | -- | 1.22 | -- | -- | -- | -- | [7 empty] | 19 |  |  |  | 0.506 |  |  |  | 274 | 0.48 | 1
190 | 3 | -0.68263 | -- | -- | 0.509 | -- | -- | -- | -- | [7 empty] | 20 |  |  |  |  | 0.491 |  |  | 284 | <1000 | NR
193 | 2 | -1.2677 | -- | -- | -- | -- | 0.491 | -- | -- | [7 empty] | 21 |  |  |  |  | 0.534 |  |  | 321 | 0.7 | 0
265 | 3 | -0.97518 | -- | -- | 0.5 | -- | -- | -- | -- | [7 empty] | 22 | [5 empty] | 0.42 |  | 323 | 0.53 | 4
274 | 1 | -1.6253 | -- | -- | -- | -- | -- | -- | 0.48 | [7 empty] | 23 | [5 empty] | 0.428 |  | 327 | 0.56 | 3
284 | NR | -- | -- | -- | <1000 | -- | -- | -- | -- | [7 empty] | 24 | [5 empty] | 0.53 |  | 333 | 0.53 | 4
321 | 0 | 5.526 | 0.7 | -- | -- | -- | -- | -- | -- | [7 empty] | 25 | [5 empty] | 0.552 |  | 372 | 0.539 | 4
323 | 4 | 0 | -- | -- | 0.53 | -- | -- | -- | -- | [7 empty] | 26 | [5 empty] | 8.54 |  | 393 | 8.54 | 0
327 | 3 | 0.97518 | -- | -- | 0.56 | -- | -- | -- | -- | [7 empty] | 27 | [6 empty] | 0.48 | 399 | 0.428 | 0
333 | 4 | 0 | -- | -- | 0.53 | -- | -- | -- | -- | [7 empty] | 28 | [7 empty] | 401 | 0.53 | 4
372 | 4 | 0.29255 | -- | -- | 0.539 | -- | -- | -- | --
393 | 0 | 260.3733 | -- | -- | -- | -- | -- | 8.54 | --
399 | 0 | -3.3156 | -- | -- | -- | -- | -- | 0.428 | --
401 | 4 | 0 | -- | -- | -- | -- | -- | 0.53

## Cl
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [6 empty] | Statistics |  |  |  |  | SCALE
|  |  | 0 | 4 | 7 | 20 | 22 | 40 | Method Codes | [5 empty] | min | 4.0722
|  | n = | 1 | 1 | 25 | 1 | 1 | 1 | 00 Other |  | MPV = | 4.895 | mg/L |  | max | 5.7178
|  | Minimum = | 4.41 | 4.64 | 4.46 | 7.97 | 4.5 | 4.66 | 04 Inductively coupled plasma |  | F-pseudosigma = | 0.27428 |  |  | major | 0.41142
|  | Maximum = |  |  | 15.7 |  |  |  | 07 Ion chromatography |  | n = | 30 |  |  | minor | 0.41142
|  | Median = |  |  | 4.94 |  |  |  | 20 Titration: colorimetric |  | Uh = | 5.03
|  | F-pseudosigma = |  |  | 0.16308 |  |  |  | 22 Colorimetric |  | Lh = | 4.66
[9 empty] | 40 Ion selective electrode | [5 empty] | Order | 0 | 4 | 7 | 20 | 22 | 40 | Lab | RV | Rating
[15 empty] | 1 | 4.41 | [5 empty] | 1 | 4.94 | 4
[15 empty] | 2 |  | 4.64 |  |  |  |  | 2 | 4.818 | 4
|  |  | Method Codes | [11 empty] | 3 |  |  | 4.46 |  |  |  | 8 | 4.83 | 4
Lab | Rating | Z-value | 0 | 4 | 7 | 20 | 22 | 40 | [6 empty] | 4 |  |  | 4.48 |  |  |  | 23 | 5.04 | 3
1 | 4 | 0.16407 | -- | -- | 4.94 | -- | -- | -- | [6 empty] | 5 |  |  | 4.51 |  |  |  | 25 | 4.6 | 2
2 | 4 | -0.28074 | -- | -- | 4.818 | -- | -- | -- | [6 empty] | 6 |  |  | 4.6 |  |  |  | 30 | 4.94 | 4
8 | 4 | -0.23699 | -- | -- | 4.83 | -- | -- | -- | [6 empty] | 7 |  |  | 4.7 |  |  |  | 33 | 5.11 | 3
23 | 3 | 0.52866 | -- | -- | 5.04 | -- | -- | -- | [6 empty] | 8 |  |  | 4.8 |  |  |  | 38 | 5.08 | 3
25 | 2 | -1.0756 | -- | -- | 4.6 | -- | -- | -- | [6 empty] | 9 |  |  | 4.81 |  |  |  | 45 | 4.51 | 2
30 | 4 | 0.16407 | -- | -- | 4.94 | -- | -- | -- | [6 empty] | 10 |  |  | 4.818 |  |  |  | 59 | 4.46 | 1
33 | 3 | 0.78388 | -- | -- | 5.11 | -- | -- | -- | [6 empty] | 11 |  |  | 4.83 |  |  |  | 64 | 5 | 4
38 | 3 | 0.6745 | -- | -- | 5.08 | -- | -- | -- | [6 empty] | 12 |  |  | 4.85 |  |  |  | 86 | 5.146 | 3
45 | 2 | -1.4037 | -- | -- | 4.51 | -- | -- | -- | [6 empty] | 13 |  |  | 4.88 |  |  |  | 89 | 4.94 | 4
59 | 1 | -1.586 | -- | -- | 4.46 | -- | -- | -- | [6 empty] | 14 |  |  | 4.91 |  |  |  | 110 | 4.41 | 1
64 | 4 | 0.38282 | -- | -- | 5 | -- | -- | -- | [6 empty] | 15 |  |  | 4.94 |  |  |  | 113 | 4.8 | 4
86 | 3 | 0.91513 | -- | -- | 5.146 | -- | -- | -- | [6 empty] | 16 |  |  | 4.94 |  |  |  | 138 | 4.64 | 3
89 | 4 | 0.16407 | -- | -- | 4.94 | -- | -- | -- | [6 empty] | 17 |  |  | 4.94 |  |  |  | 149 | 15.7 | 0
110 | 1 | -1.7683 | 4.41 | -- | -- | -- | -- | -- | [6 empty] | 18 |  |  | 4.97 |  |  |  | 158 | 4.85 | 4
113 | 4 | -0.34636 | -- | -- | 4.8 | -- | -- | -- | [6 empty] | 19 |  |  | 5 |  |  |  | 180 | 4.97 | 4
138 | 3 | -0.92972 | -- | 4.64 | -- | -- | -- | -- | [6 empty] | 20 |  |  | 5.01 |  |  |  | 190 | 5.01 | 4
149 | 0 | 39.3944 | -- | -- | 15.7 | -- | -- | -- | [6 empty] | 21 |  |  | 5.03 |  |  |  | 208 | 4.81 | 4
158 | 4 | -0.16407 | -- | -- | 4.85 | -- | -- | -- | [6 empty] | 22 |  |  | 5.04 |  |  |  | 265 | 4.7 | 3
180 | 4 | 0.27345 | -- | -- | 4.97 | -- | -- | -- | [6 empty] | 23 |  |  | 5.08 |  |  |  | 274 | 7.97 | 0
190 | 4 | 0.41928 | -- | -- | 5.01 | -- | -- | -- | [6 empty] | 24 |  |  | 5.11 |  |  |  | 284 | <5 | NR
208 | 4 | -0.30991 | -- | -- | 4.81 | -- | -- | -- | [6 empty] | 25 |  |  | 5.146 |  |  |  | 321 | 4.48 | 1
265 | 3 | -0.71096 | -- | -- | 4.7 | -- | -- | -- | [6 empty] | 26 |  |  | 5.396 |  |  |  | 323 | 4.5 | 2
274 | 0 | 11.2113 | -- | -- | -- | 7.97 | -- | -- | [6 empty] | 27 |  |  | 15.7 |  |  |  | 327 | <5 | NR
284 | NR | -- | -- | -- | -- | -- | <5 | -- | [6 empty] | 28 |  |  |  | 7.97 |  |  | 333 | 4.91 | 4
321 | 1 | -1.5131 | -- | -- | 4.48 | -- | -- | -- | [6 empty] | 29 |  |  |  | <5 |  |  | 372 | 4.88 | 4
323 | 2 | -1.4401 | -- | -- | -- | -- | 4.5 | -- | [6 empty] | 30 |  |  |  |  | 4.5 |  | 393 | 4.66 | 3
327 | NR | -- | -- | -- | -- | <5 | -- | -- | [6 empty] | 31 |  |  |  |  | <5 |  | 399 | 5.396 | 1
333 | 4 | 0.054689 | -- | -- | 4.91 | -- | -- | -- | [6 empty] | 32 | [5 empty] | 4.66 | 401 | 5.03 | 4
372 | 4 | -0.054689 | -- | -- | 4.88 | -- | -- | --
393 | 3 | -0.8568 | -- | -- | -- | -- | -- | 4.66
399 | 1 | 1.8266 | -- | -- | 5.396 | -- | -- | --
401 | 4 | 0.4922 | -- | -- | 5.03 | -- | -- | --

## F
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods |  |  |  | Statistics |  |  |  |  | SCALE
|  |  | 7 | 22 | 40 | Method Codes | [5 empty] | min | -0.025238
|  | n = | 11 | 1 | 2 | 07 Ion chromatography |  | MPV = | 0.04815 | mg/L |  | max | 0.12154
|  | Minimum = | 0.029 | 0.053 | 0.03 | 22 Colorimetric |  | F-pseudosigma = | 0.024463 |  |  | major | 0.036694
|  | Maximum = | 0.38 |  | 0.06 | 40 Ion selective electrode |  | n = | 14 |  |  | minor | 0.036694
|  | Median = | 0.0433 |  |  |  |  | Uh = | 0.069
|  | F-pseudosigma = | 0.030764 |  |  |  |  | Lh = | 0.036
[12 empty] | Order | 7 | 22 | 40 | Lab | RV | Rating
[12 empty] | 1 | 0.029 |  |  | 1 | 0.029 | 3
[12 empty] | 2 | 0.03 |  |  | 2 | 0.041 | 4
|  |  | Method Codes | [8 empty] | 3 | 0.036 |  |  | 8 | <0.2 | NR
Lab | Rating | Z-value | 7 | 22 | 40 | [6 empty] | 4 | 0.04 |  |  | 23 | 0.036 | 4
1 | 3 | -0.78283 | 0.029 | -- | -- | [6 empty] | 5 | 0.041 |  |  | 33 | <0.1 | NR
2 | 4 | -0.29228 | 0.041 | -- | -- | [6 empty] | 6 | 0.0433 |  |  | 45 | 0.065 | 3
8 | NR | -- | <0.2 | -- | -- | [6 empty] | 7 | 0.065 |  |  | 59 | 0.06 | 4
23 | 4 | -0.49668 | 0.036 | -- | -- | [6 empty] | 8 | 0.069 |  |  | 86 | 0.0433 | 4
33 | NR | -- | <0.1 | -- | -- | [6 empty] | 9 | 0.09 |  |  | 138 | <0.050 | NR
45 | 3 | 0.68881 | 0.065 | -- | -- | [6 empty] | 10 | 0.11 |  |  | 149 | 0.38 | 0
59 | 4 | 0.48441 | -- | -- | 0.06 | [6 empty] | 11 | 0.38 |  |  | 158 | 0.11 | 0
86 | 4 | -0.19826 | 0.0433 | -- | -- | [6 empty] | 12 | <0.05 |  |  | 180 | 0.03 | 3
138 | NR | -- | -- | -- | <0.050 | [6 empty] | 13 | <0.1 |  |  | 190 | 0.03 | 3
149 | 0 | 13.5656 | 0.38 | -- | -- | [6 empty] | 14 | <0.2 |  |  | 265 | <0.05 | NR
158 | 0 | 2.5284 | 0.11 | -- | -- | [6 empty] | 15 |  | 0.053 |  | 274 | 0.053 | 4
180 | 3 | -0.74195 | 0.03 | -- | -- | [6 empty] | 16 |  | <0.10 |  | 284 | <0.1 | NR
190 | 3 | -0.74195 | -- | -- | 0.03 | [6 empty] | 17 |  |  | 0.03 | 323 | <0.10 | NR
265 | NR | -- | <0.05 | -- | -- | [6 empty] | 18 |  |  | 0.06 | 372 | 0.09 | 1
274 | 4 | 0.19826 | -- | 0.053 | -- | [6 empty] | 19 |  |  | <0.01 | 393 | <0.01 | NR
284 | NR | -- | -- | -- | <0.1 | [6 empty] | 20 |  |  | <0.050 | 399 | 0.069 | 3
323 | NR | -- | -- | <0.10 | -- | [6 empty] | 21 |  |  | <0.1 | 401 | 0.04 | 4
372 | 1 | 1.7108 | 0.09 | -- | --
393 | NR | -- | -- | -- | <0.01
399 | 3 | 0.85232 | 0.069 | -- | --
401 | 4 | -0.33316 | 0.04 | -- | --

## K
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [7 empty] | Statistics |  |  |  |  | SCALE
|  |  | 1 | 4 | 5 | 6 | 7 | 12 |  | Method Codes | [5 empty] | min | 0.11328
|  | n = | 4 | 9 | 0 | 3 | 5 | 1 | 01 Atomic absorption: direct, air |  |  | MPV = | 0.18 | mg/L |  | max | 0.24672
|  | Minimum = | 0.04 | 0.093 | 0 | 0.132 | 0.16 | 0.19 | 04 Inductively coupled plasma |  |  | F-pseudosigma = | 0.022239 |  |  | major | 0.033358
|  | Maximum = | 0.185 | 0.537 |  | 0.182 | 3.65 |  | 05 Direct current plasma |  |  | n = | 22 |  |  | minor | 0.033358
|  | Median = |  | 0.18 |  |  | 0.184 |  | 06 Inductively coupled plasma/mass spectrometry |  |  | Uh = | 0.189
|  | F-pseudosigma = |  | 0.022239 |  |  | 0.053 |  | 07 Ion chromatography |  |  | Lh = | 0.159
[9 empty] | 12 Flame emission | [6 empty] | Order | 1 | 4 | 5 | 6 | 7 | 12 | Lab | RV | Rating
[16 empty] | 1 | 0.04 | [5 empty] | 1 | 0.189 | 4
[16 empty] | 2 | 0.156 | [5 empty] | 2 | 0.242 | 0
|  |  | Method Codes | [12 empty] | 3 | 0.18 | [5 empty] | 8 | 0.182 | 4
Lab | Rating | Z-value | 1 | 4 | 5 | 6 | 7 | 12 | [7 empty] | 4 | 0.185 | [5 empty] | 23 | 0.156 | 2
1 | 4 | 0.4047 | -- | 0.189 | -- | -- | -- | -- | [7 empty] | 5 |  | 0.093 |  |  |  |  | 25 | 0.093 | 0
2 | 0 | 2.7879 | -- | -- | -- | -- | 0.242 | -- | [7 empty] | 6 |  | 0.14 |  |  |  |  | 33 | <0.1 | 0
8 | 4 | 0.089933 | -- | 0.182 | -- | -- | -- | -- | [7 empty] | 7 |  | 0.159 |  |  |  |  | 38 | 0.18 | 4
23 | 2 | -1.0792 | 0.156 | -- | -- | -- | -- | -- | [7 empty] | 8 |  | 0.16 |  |  |  |  | 45 | 0.166 | 3
25 | 0 | -3.9121 | -- | 0.093 | -- | -- | -- | -- | [7 empty] | 9 |  | 0.18 |  |  |  |  | 59 | 0.16 | 3
33 | 0 | -3.5973 | -- | -- | <0.1 | -- | -- | -- | [7 empty] | 10 |  | 0.182 |  |  |  |  | 64 | 0.185 | 4
38 | 4 | 0 | 0.18 | -- | -- | -- | -- | -- | [7 empty] | 11 |  | 0.189 |  |  |  |  | 86 | <0.20 | NR
45 | 3 | -0.62953 | -- | -- | -- | 0.166 | -- | -- | [7 empty] | 12 |  | 0.19 |  |  |  |  | 138 | 0.159 | 3
59 | 3 | -0.89933 | -- | -- | -- | -- | 0.16 | -- | [7 empty] | 13 |  | 0.537 |  |  |  |  | 158 | 0.537 | 0
64 | 4 | 0.22483 | 0.185 | -- | -- | -- | -- | -- | [7 empty] | 14 |  | < 1.65 |  |  |  |  | 180 | < 1.65 | NR
86 | NR | -- | -- | <0.20 | -- | -- | -- | -- | [7 empty] | 15 |  | <0.20 |  |  |  |  | 193 | 0.182 | 4
138 | 3 | -0.9443 | -- | 0.159 | -- | -- | -- | -- | [7 empty] | 16 |  | <1.0 |  |  |  |  | 265 | 0.16 | 3
158 | 0 | 16.0531 | -- | 0.537 | -- | -- | -- | -- | [7 empty] | 17 |  |  | <0.1 |  |  |  | 274 | 0.19 | 4
180 | NR | -- | -- | < 1.65 | -- | -- | -- | -- | [7 empty] | 18 |  |  |  | 0.132 |  |  | 284 | <1.0 | NR
193 | 4 | 0.089933 | -- | -- | -- | 0.182 | -- | -- | [7 empty] | 19 |  |  |  | 0.166 |  |  | 321 | 0.04 | 0
265 | 3 | -0.89933 | -- | 0.16 | -- | -- | -- | -- | [7 empty] | 20 |  |  |  | 0.182 |  |  | 323 | 0.18 | 4
274 | 4 | 0.44967 | -- | -- | -- | -- | -- | 0.19 | [7 empty] | 21 |  |  |  |  | 0.16 |  | 327 | 0.14 | 1
284 | NR | -- | -- | <1.0 | -- | -- | -- | -- | [7 empty] | 22 |  |  |  |  | 0.17 |  | 333 | 0.19 | 4
321 | 0 | -6.2953 | 0.04 | -- | -- | -- | -- | -- | [7 empty] | 23 |  |  |  |  | 0.184 |  | 372 | 0.132 | 0
323 | 4 | 0 | -- | 0.18 | -- | -- | -- | -- | [7 empty] | 24 |  |  |  |  | 0.242 |  | 393 | 3.65 | 0
327 | 1 | -1.7987 | -- | 0.14 | -- | -- | -- | -- | [7 empty] | 25 |  |  |  |  | 3.65 |  | 399 | 0.184 | 4
333 | 4 | 0.44967 | -- | 0.19 | -- | -- | -- | -- | [7 empty] | 26 | [5 empty] | 0.19 | 401 | 0.17 | 4
372 | 0 | -2.1584 | -- | -- | -- | 0.132 | -- | --
393 | 0 | 156.0343 | -- | -- | -- | -- | 3.65 | --
399 | 4 | 0.17987 | -- | -- | -- | -- | 0.184 | --
401 | 4 | -0.44967 | -- | -- | -- | -- | 0.17 | --

## Mg
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [7 empty] | Statistics |  |  |  |  | SCALE
|  |  | 1 | 4 | 5 | 6 | 7 | 20 |  | Method Codes | [5 empty] | min | 0.011578
|  | n = | 4 | 11 | 0 | 3 | 5 | 1 | 01 Atomic absorption: direct, air |  |  | MPV = | 0.0416 | mg/L |  | max | 0.071622
|  | Minimum = | 0.037 | 0.036 | 0 | 0.039 | 0.03 | 0.19 | 04 Inductively coupled plasma |  |  | F-pseudosigma = | 0.010007 |  |  | major | 0.015011
|  | Maximum = | 0.049 | 0.164 |  | 0.043 | 4.52 |  | 05 Direct current plasma |  |  | n = | 24 |  |  | minor | 0.015011
|  | Median = |  | 0.0412 |  |  | 0.058 |  | 06 Inductively coupled plasma/mass spectrometry |  |  | Uh = | 0.0535
|  | F-pseudosigma = |  | 0.0036323 |  |  | 0.029652 |  | 07 Ion chromatography |  |  | Lh = | 0.04
[9 empty] | 20 Titration: colorimetric | [6 empty] | Order | 1 | 4 | 5 | 6 | 7 | 20 | Lab | RV | Rating
[16 empty] | 1 | 0.037 | [5 empty] | 1 | 0.04 | 4
[16 empty] | 2 | 0.04 | [5 empty] | 2 | 0.058 | 1
|  |  | Method Codes | [12 empty] | 3 | 0.042 | [5 empty] | 8 | 0.043 | 4
Lab | Rating | Z-value | 1 | 4 | 5 | 6 | 7 | 20 | [7 empty] | 4 | 0.049 | [5 empty] | 23 | 0.037 | 4
1 | 4 | -0.15988 | -- | 0.04 | -- | -- | -- | -- | [7 empty] | 5 |  | 0.036 |  |  |  |  | 25 | 0.042 | 4
2 | 1 | 1.6388 | -- | -- | -- | -- | 0.058 | -- | [7 empty] | 6 |  | 0.039 |  |  |  |  | 33 | <0.1 | NR
8 | 4 | 0.1399 | -- | 0.043 | -- | -- | -- | -- | [7 empty] | 7 |  | 0.04 |  |  |  |  | 38 | 0.049 | 3
23 | 4 | -0.45966 | 0.037 | -- | -- | -- | -- | -- | [7 empty] | 8 |  | 0.04 |  |  |  |  | 45 | 0.043 | 4
25 | 4 | 0.03997 | -- | 0.042 | -- | -- | -- | -- | [7 empty] | 9 |  | 0.041 |  |  |  |  | 59 | 0.08 | 0
33 | NR | -- | -- | -- | <0.1 | -- | -- | -- | [7 empty] | 10 |  | 0.0412 |  |  |  |  | 64 | 0.042 | 4
38 | 3 | 0.73945 | 0.049 | -- | -- | -- | -- | -- | [7 empty] | 11 |  | 0.042 |  |  |  |  | 86 | 0.0468 | 3
45 | 4 | 0.1399 | -- | -- | -- | 0.043 | -- | -- | [7 empty] | 12 |  | 0.043 |  |  |  |  | 110 | 0.039 | 4
59 | 0 | 3.8372 | -- | -- | -- | -- | 0.08 | -- | [7 empty] | 13 |  | 0.0468 |  |  |  |  | 138 | 0.0412 | 4
64 | 4 | 0.03997 | 0.042 | -- | -- | -- | -- | -- | [7 empty] | 14 |  | 0.1 |  |  |  |  | 158 | 0.1 | 0
86 | 3 | 0.51961 | -- | 0.0468 | -- | -- | -- | -- | [7 empty] | 15 |  | 0.164 |  |  |  |  | 180 | 0.164 | 0
110 | 4 | -0.25981 | -- | 0.039 | -- | -- | -- | -- | [7 empty] | 16 |  | <0.10 |  |  |  |  | 193 | 0.039 | 4
138 | 4 | -0.03997 | -- | 0.0412 | -- | -- | -- | -- | [7 empty] | 17 |  | <1.0 |  |  |  |  | 265 | 0.041 | 4
158 | 0 | 5.8357 | -- | 0.1 | -- | -- | -- | -- | [7 empty] | 18 |  |  | <0.1 |  |  |  | 274 | 0.19 | 0
180 | 0 | 12.2309 | -- | 0.164 | -- | -- | -- | -- | [7 empty] | 19 |  |  |  | 0.039 |  |  | 284 | <1.0 | NR
193 | 4 | -0.25981 | -- | -- | -- | 0.039 | -- | -- | [7 empty] | 20 |  |  |  | 0.04 |  |  | 321 | 0.04 | 4
265 | 4 | -0.059956 | -- | 0.041 | -- | -- | -- | -- | [7 empty] | 21 |  |  |  | 0.043 |  |  | 323 | 0.036 | 3
274 | 0 | 14.829 | -- | -- | -- | -- | -- | 0.19 | [7 empty] | 22 |  |  |  |  | 0.03 |  | 327 | <0.10 | NR
284 | NR | -- | -- | <1.0 | -- | -- | -- | -- | [7 empty] | 23 |  |  |  |  | 0.04 |  | 333 | 0.04 | 4
321 | 4 | -0.15988 | 0.04 | -- | -- | -- | -- | -- | [7 empty] | 24 |  |  |  |  | 0.058 |  | 372 | 0.04 | 4
323 | 3 | -0.55959 | -- | 0.036 | -- | -- | -- | -- | [7 empty] | 25 |  |  |  |  | 0.08 |  | 393 | 4.52 | 0
327 | NR | -- | -- | <0.10 | -- | -- | -- | -- | [7 empty] | 26 |  |  |  |  | 4.52 |  | 399 | 0.03 | 2
333 | 4 | -0.15988 | -- | 0.04 | -- | -- | -- | -- | [7 empty] | 27 | [5 empty] | 0.19 | 401 | 0.04 | 4
372 | 4 | -0.15988 | -- | -- | -- | 0.04 | -- | --
393 | 0 | 447.5083 | -- | -- | -- | -- | 4.52 | --
399 | 2 | -1.1591 | -- | -- | -- | -- | 0.03 | --
401 | 4 | -0.15988 | -- | -- | -- | -- | 0.04 | --

## Na
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [7 empty] | Statistics |  |  |  |  | SCALE
|  |  | 1 | 4 | 5 | 6 | 7 | 12 |  | Method Codes | [5 empty] | min | 0.1327
|  | n = | 4 | 11 | 0 | 3 | 5 | 1 | 01 Atomic absorption: direct, air |  |  | MPV = | 0.235 | mg/L |  | max | 0.3373
|  | Minimum = | 0.21 | 0.21 | 0 | 0.137 | 0.23 | 0.285 | 04 Inductively coupled plasma |  |  | F-pseudosigma = | 0.034099 |  |  | major | 0.051149
|  | Maximum = | 0.247 | 0.4 |  | 0.246 | 12.7 |  | 05 Direct current plasma |  |  | n = | 24 |  |  | minor | 0.051149
|  | Median = |  | 0.23 |  |  | 0.269 |  | 06 Inductively coupled plasma/mass spectrometry |  |  | Uh = | 0.2705
|  | F-pseudosigma = |  | 0.027057 |  |  | 0.907 |  | 07 Ion chromatography |  |  | Lh = | 0.2245
[9 empty] | 12 Flame emission | [6 empty] | Order | 1 | 4 | 5 | 6 | 7 | 12 | Lab | RV | Rating
[16 empty] | 1 | 0.21 | [5 empty] | 1 | 0.233 | 4
[16 empty] | 2 | 0.234 | [5 empty] | 2 | 0.269 | 3
|  |  | Method Codes | [12 empty] | 3 | 0.24 | [5 empty] | 8 | 0.228 | 4
Lab | Rating | Z-value | 1 | 4 | 5 | 6 | 7 | 12 | [7 empty] | 4 | 0.247 | [5 empty] | 23 | 0.247 | 4
1 | 4 | -0.058652 | -- | 0.233 | -- | -- | -- | -- | [7 empty] | 5 |  | 0.21 |  |  |  |  | 25 | 0.221 | 4
2 | 3 | 0.99709 | -- | -- | -- | -- | 0.269 | -- | [7 empty] | 6 |  | 0.217 |  |  |  |  | 33 | <0.08 | 0
8 | 4 | -0.20528 | -- | 0.228 | -- | -- | -- | -- | [7 empty] | 7 |  | 0.221 |  |  |  |  | 38 | 0.24 | 4
23 | 4 | 0.35191 | 0.247 | -- | -- | -- | -- | -- | [7 empty] | 8 |  | 0.228 |  |  |  |  | 45 | 0.246 | 4
25 | 4 | -0.41057 | -- | 0.221 | -- | -- | -- | -- | [7 empty] | 9 |  | 0.23 |  |  |  |  | 59 | 1.46 | 0
33 | 0 | -4.5455 | -- | -- | <0.08 | -- | -- | -- | [7 empty] | 10 |  | 0.23 |  |  |  |  | 64 | 0.234 | 4
38 | 4 | 0.14663 | 0.24 | -- | -- | -- | -- | -- | [7 empty] | 11 |  | 0.233 |  |  |  |  | 86 | 0.217 | 3
45 | 4 | 0.32259 | -- | -- | -- | 0.246 | -- | -- | [7 empty] | 12 |  | 0.25 |  |  |  |  | 138 | 0.327 | 0
59 | 0 | 35.9245 | -- | -- | -- | -- | 1.46 | -- | [7 empty] | 13 |  | 0.272 |  |  |  |  | 158 | 0.4 | 0
64 | 4 | -0.029326 | 0.234 | -- | -- | -- | -- | -- | [7 empty] | 14 |  | 0.327 |  |  |  |  | 180 | 0.272 | 2
86 | 3 | -0.52787 | -- | 0.217 | -- | -- | -- | -- | [7 empty] | 15 |  | 0.4 |  |  |  |  | 193 | 0.221 | 4
138 | 0 | 2.698 | -- | 0.327 | -- | -- | -- | -- | [7 empty] | 16 |  | <0.1 |  |  |  |  | 265 | 0.23 | 4
158 | 0 | 4.8388 | -- | 0.4 | -- | -- | -- | -- | [7 empty] | 17 |  |  | <0.08 |  |  |  | 274 | 0.285 | 2
180 | 2 | 1.0851 | -- | 0.272 | -- | -- | -- | -- | [7 empty] | 18 |  |  |  | 0.137 |  |  | 284 | <0.1 | 0
193 | 4 | -0.41057 | -- | -- | -- | 0.221 | -- | -- | [7 empty] | 19 |  |  |  | 0.221 |  |  | 321 | 0.21 | 3
265 | 4 | -0.14663 | -- | 0.23 | -- | -- | -- | -- | [7 empty] | 20 |  |  |  | 0.246 |  |  | 323 | 0.23 | 4
274 | 2 | 1.4663 | -- | -- | -- | -- | -- | 0.285 | [7 empty] | 21 |  |  |  |  | 0.23 |  | 327 | 0.21 | 3
284 | 0 | -3.959 | -- | <0.1 | -- | -- | -- | -- | [7 empty] | 22 |  |  |  |  | 0.236 |  | 333 | 0.25 | 4
321 | 3 | -0.73315 | 0.21 | -- | -- | -- | -- | -- | [7 empty] | 23 |  |  |  |  | 0.269 |  | 372 | 0.137 | 0
323 | 4 | -0.14663 | -- | 0.23 | -- | -- | -- | -- | [7 empty] | 24 |  |  |  |  | 1.46 |  | 393 | 12.7 | 0
327 | 3 | -0.73315 | -- | 0.21 | -- | -- | -- | -- | [7 empty] | 25 |  |  |  |  | 12.7 |  | 399 | 0.236 | 4
333 | 4 | 0.43989 | -- | 0.25 | -- | -- | -- | -- | [7 empty] | 26 | [5 empty] | 0.285 | 401 | 0.23 | 4
372 | 0 | -2.874 | -- | -- | -- | 0.137 | -- | --
393 | 0 | 365.5497 | -- | -- | -- | -- | 12.7 | --
399 | 4 | 0.029326 | -- | -- | -- | -- | 0.236 | --
401 | 4 | -0.14663 | -- | -- | -- | -- | 0.23 | --

## pH
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods |  |  |  |  | Statistics |  |  |  | SCALE
|  |  | 6 | 40 | 41 |  | Method Codes |  |  |  |  | min | 3.7609
|  | n = | 1 | 5 | 27 | 06 Inductively coupled plasma/mass spectrometry |  |  | MPV = | 3.99 |  | max | 4.2191
|  | Minimum = | 4.03 | 2.16 | 3.708 | 40 Ion selective electrode |  |  | F-pseudosigma = | 0.076353 |  | major | 0.11453
|  | Maximum = |  | 4 | 4.2 | 41 Electrometric |  |  | Rating criterion = | 0.1995 |  | minor | 0.11453
|  | Median = |  | 3.9 | 4 |  |  |  | n = | 33
|  | F-pseudosigma = |  | 0.26835 | 0.056709 |  |  |  | Uh = | 4.003
[9 empty] | Lh = | 3.9 |  | Order | 6 | 40 | 41 | Lab | RV | Rating
[12 empty] | 1 | 4.03 |  |  | 1 | 3.96 | 4
[12 empty] | 2 |  | 2.16 |  | 2 | 4.003 | 4
|  |  | Method Codes | [8 empty] | 3 |  | 3.62 |  | 8 | 3.96 | 4
Lab | Rating | Z-value | 6 | 40 | 41 | [6 empty] | 4 |  | 3.9 |  | 23 | 4 | 4
1 | 4 | -0.15038 | -- | -- | 3.96 | [6 empty] | 5 |  | 3.982 |  | 25 | 4 | 4
2 | 4 | 0.065163 | -- | -- | 4.003 | [6 empty] | 6 |  | 4 |  | 30 | 4.01 | 4
8 | 4 | -0.15038 | -- | -- | 3.96 | [6 empty] | 7 |  |  | 3.708 | 33 | 3.71 | 2
23 | 4 | 0.050125 | -- | -- | 4 | [6 empty] | 8 |  |  | 3.71 | 38 | 4 | 4
25 | 4 | 0.050125 | -- | -- | 4 | [6 empty] | 9 |  |  | 3.86 | 45 | 4.03 | 4
30 | 4 | 0.10025 | -- | -- | 4.01 | [6 empty] | 10 |  |  | 3.87 | 59 | 4 | 4
33 | 2 | -1.4035 | -- | -- | 3.71 | [6 empty] | 11 |  |  | 3.87 | 64 | 3.9 | 4
38 | 4 | 0.050125 | -- | -- | 4 | [6 empty] | 12 |  |  | 3.89 | 86 | 4.2 | 2
45 | 4 | 0.2005 | 4.03 | -- | -- | [6 empty] | 13 |  |  | 3.9 | 89 | 2.16 | 0
59 | 4 | 0.050125 | -- | -- | 4 | [6 empty] | 14 |  |  | 3.96 | 110 | 4.05 | 4
64 | 4 | -0.45113 | -- | -- | 3.9 | [6 empty] | 15 |  |  | 3.96 | 113 | 4 | 4
86 | 2 | 1.0526 | -- | -- | 4.2 | [6 empty] | 16 |  |  | 3.96 | 138 | 4.01 | 4
89 | 0 | -9.1729 | -- | 2.16 | -- | [6 empty] | 17 |  |  | 3.96 | 158 | 3.86 | 3
110 | 4 | 0.30075 | -- | -- | 4.05 | [6 empty] | 18 |  |  | 3.98 | 180 | 4.12 | 3
113 | 4 | 0.050125 | -- | 4 | -- | [6 empty] | 19 |  |  | 3.99 | 190 | 3.62 | 1
138 | 4 | 0.10025 | -- | -- | 4.01 | [6 empty] | 20 |  |  | 4 | 193 | 4 | 4
158 | 3 | -0.65163 | -- | -- | 3.86 | [6 empty] | 21 |  |  | 4 | 274 | 3.708 | 2
180 | 3 | 0.65163 | -- | -- | 4.12 | [6 empty] | 22 |  |  | 4 | 277 | 3.9 | 4
190 | 1 | -1.8546 | -- | 3.62 | -- | [6 empty] | 23 |  |  | 4 | 284 | 3.98 | 4
193 | 4 | 0.050125 | -- | -- | 4 | [6 empty] | 24 |  |  | 4 | 321 | 3.96 | 4
274 | 2 | -1.4135 | -- | -- | 3.708 | [6 empty] | 25 |  |  | 4 | 323 | 4.03 | 4
277 | 4 | -0.45113 | -- | 3.9 | -- | [6 empty] | 26 |  |  | 4.003 | 326 | 3.87 | 3
284 | 4 | -0.050125 | -- | -- | 3.98 | [6 empty] | 27 |  |  | 4.01 | 327 | 3.87 | 3
321 | 4 | -0.15038 | -- | -- | 3.96 | [6 empty] | 28 |  |  | 4.01 | 333 | 3.99 | 4
323 | 4 | 0.2005 | -- | -- | 4.03 | [6 empty] | 29 |  |  | 4.03 | 372 | 3.89 | 4
326 | 3 | -0.6015 | -- | -- | 3.87 | [6 empty] | 30 |  |  | 4.05 | 393 | 4.06 | 4
327 | 3 | -0.6015 | -- | -- | 3.87 | [6 empty] | 31 |  |  | 4.06 | 394 | 3.982 | 4
333 | 4 | 0 | -- | -- | 3.99 | [6 empty] | 32 |  |  | 4.12 | 399 | 3.96 | 4
372 | 4 | -0.50125 | -- | -- | 3.89 | [6 empty] | 33 |  |  | 4.2 | 401 | 4 | 4
393 | 4 | 0.35088 | -- | -- | 4.06
394 | 4 | -0.0401 | -- | 3.982 | --
399 | 4 | -0.15038 | -- | -- | 3.96
401 | 4 | 0.050125 | -- | -- | 4

## PO4
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods |  |  |  | Statistics |  |  |  |  | SCALE
|  |  | 4 | 7 | 22 | Method Codes | [5 empty] | min | 0.072314
|  | n = | 0 | 6 | 17 | 04 Inductively coupled plasma |  | MPV = | 0.099 | mg/L |  | max | 0.12569
|  | Minimum = | 0 | 0.08 | 0.089 | 07 Ion chromatography |  | F-pseudosigma = | 0.0088955 |  |  | major | 0.013343
|  | Maximum = |  | 1.4 | 0.301 | 22 Colorimetric |  | n = | 23 |  |  | minor | 0.013343
|  | Median = |  | 0.1005 | 0.099 |  |  | Uh = | 0.106
|  | F-pseudosigma = |  | 0.061527 | 0.0029652 |  |  | Lh = | 0.094
[12 empty] | Order | 4 | 7 | 22 | Lab | RV | Rating
[12 empty] | 1 | <0.25 |  |  | 8 | <0.25 | NR
[12 empty] | 2 |  | 0.08 |  | 23 | 0.099 | 4
|  |  | Method Codes | [8 empty] | 3 |  | 0.084 |  | 25 | 0.098 | 4
Lab | Rating | Z-value | 4 | 7 | 22 | [6 empty] | 4 |  | 0.093 |  | 33 | 0.11 | 2
8 | NR | -- | <0.25 | -- | -- | [6 empty] | 5 |  | 0.108 |  | 38 | 0.097 | 4
23 | 4 | 0 | -- | -- | 0.099 | [6 empty] | 6 |  | 0.167 |  | 45 | 0.108 | 2
25 | 4 | -0.11242 | -- | -- | 0.098 | [6 empty] | 7 |  | 1.4 |  | 59 | 0.08 | 0
33 | 2 | 1.2366 | -- | -- | 0.11 | [6 empty] | 8 |  |  | 0.089 | 64 | 0.301 | 0
38 | 4 | -0.22483 | -- | -- | 0.097 | [6 empty] | 9 |  |  | 0.089 | 86 | 0.167 | 0
45 | 2 | 1.0117 | -- | 0.108 | -- | [6 empty] | 10 |  |  | 0.094 | 89 | 0.089 | 2
59 | 0 | -2.1359 | -- | 0.08 | -- | [6 empty] | 11 |  |  | 0.094 | 113 | 0.099 | 4
64 | 0 | 22.7082 | -- | -- | 0.301 | [6 empty] | 12 |  |  | 0.097 | 138 | 0.098 | 4
86 | 0 | 7.6443 | -- | 0.167 | -- | [6 empty] | 13 |  |  | 0.098 | 149 | 1.4 | 0
89 | 2 | -1.1242 | -- | -- | 0.089 | [6 empty] | 14 |  |  | 0.098 | 158 | 0.094 | 3
113 | 4 | 0 | -- | -- | 0.099 | [6 empty] | 15 |  |  | 0.099 | 180 | 0.089 | 2
138 | 4 | -0.11242 | -- | -- | 0.098 | [6 empty] | 16 |  |  | 0.099 | 190 | 0.094 | 3
149 | 0 | 146.2541 | -- | 1.4 | -- | [6 empty] | 17 |  |  | 0.1 | 274 | 0.118 | 0
158 | 3 | -0.56208 | -- | -- | 0.094 | [6 empty] | 18 |  |  | 0.1 | 284 | <0.1 | NR
180 | 2 | -1.1242 | -- | -- | 0.089 | [6 empty] | 19 |  |  | 0.1 | 321 | 0.104 | 3
190 | 3 | -0.56208 | -- | -- | 0.094 | [6 empty] | 20 |  |  | 0.101 | 323 | 0.101 | 4
274 | 0 | 2.1359 | -- | -- | 0.118 | [6 empty] | 21 |  |  | 0.104 | 327 | 0.1 | 4
284 | NR | -- | -- | -- | <0.1 | [6 empty] | 22 |  |  | 0.11 | 333 | 0.093 | 3
321 | 3 | 0.56208 | -- | -- | 0.104 | [6 empty] | 23 |  |  | 0.118 | 372 | 0.1 | 4
323 | 4 | 0.22483 | -- | -- | 0.101 | [6 empty] | 24 |  |  | 0.301 | 393 | 0.1 | 4
327 | 4 | 0.11242 | -- | -- | 0.1 | [6 empty] | 25 |  |  | <0.1 | 399 | 0.084 | 1
333 | 3 | -0.6745 | -- | 0.093 | --
372 | 4 | 0.11242 | -- | -- | 0.1
393 | 4 | 0.11242 | -- | -- | 0.1
399 | 1 | -1.6863 | -- | 0.084 | --

## SO4
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods | [6 empty] | Statistics |  |  |  |  | SCALE
|  |  | 4 | 6 | 7 | 22 | 51 |  | Method Codes | [5 empty] | min | -0.3491
|  | n = | 0 | 1 | 23 | 2 | 0 | 04 Inductively coupled plasma |  |  | MPV = | 0.536 | mg/L |  | max | 1.4211
|  | Minimum = | 0 | 0.43 | 0.35 | 0.54 | 0 | 06 Inductively coupled plasma/mass spectrometry |  |  | F-pseudosigma = | 0.29503 |  |  | major | 0.44255
|  | Maximum = |  |  | 10.8 | 0.97 |  | 07 Ion chromatography |  |  | n = | 26 |  |  | minor | 0.44255
|  | Median = |  |  | 0.532 |  |  | 22 Colorimetric |  |  | Uh = | 0.822
|  | F-pseudosigma = |  |  | 0.26761 |  |  | 51 Turbidimetric |  |  | Lh = | 0.424
[15 empty] | Order | 4 | 6 | 7 | 22 | 51 | Lab | RV | Rating
[15 empty] | 1 | < 5 |  |  |  |  | 1 | 0.429 | 4
[15 empty] | 2 |  | 0.43 |  |  |  | 2 | 0.457 | 4
|  |  | Method Codes | [11 empty] | 3 |  |  | 0.35 |  |  | 8 | 1.3 | 0
Lab | Rating | Z-value | 4 | 6 | 7 | 22 | 51 | [7 empty] | 4 |  |  | 0.35 |  |  | 23 | 0.65 | 4
1 | 4 | -0.36267 | -- | -- | 0.429 | -- | -- | [7 empty] | 5 |  |  | 0.35 |  |  | 25 | < 5 | NR
2 | 4 | -0.26777 | -- | -- | 0.457 | -- | -- | [7 empty] | 6 |  |  | 0.38 |  |  | 33 | 0.85 | 2
8 | 0 | 2.5895 | -- | -- | 1.3 | -- | -- | [7 empty] | 7 |  |  | 0.4 |  |  | 38 | 0.54 | 4
23 | 4 | 0.3864 | -- | -- | 0.65 | -- | -- | [7 empty] | 8 |  |  | 0.423 |  |  | 45 | 0.822 | 3
25 | NR | -- | < 5 | -- | -- | -- | -- | [7 empty] | 9 |  |  | 0.424 |  |  | 59 | 0.35 | 3
33 | 2 | 1.0643 | -- | -- | 0.85 | -- | -- | [7 empty] | 10 |  |  | 0.429 |  |  | 64 | 0.464 | 4
38 | 4 | 0.013558 | -- | -- | -- | 0.54 | -- | [7 empty] | 11 |  |  | 0.44 |  |  | 86 | 0.747 | 3
45 | 3 | 0.96938 | -- | -- | 0.822 | -- | -- | [7 empty] | 12 |  |  | 0.457 |  |  | 89 | 0.725 | 3
59 | 3 | -0.63044 | -- | -- | 0.35 | -- | -- | [7 empty] | 13 |  |  | 0.464 |  |  | 110 | 0.424 | 4
64 | 4 | -0.24404 | -- | -- | 0.464 | -- | -- | [7 empty] | 14 |  |  | 0.532 |  |  | 138 | 0.532 | 4
86 | 3 | 0.71517 | -- | -- | 0.747 | -- | -- | [7 empty] | 15 |  |  | 0.54 |  |  | 149 | 10.8 | 0
89 | 3 | 0.64061 | -- | -- | 0.725 | -- | -- | [7 empty] | 16 |  |  | 0.55 |  |  | 158 | 1.91 | 0
110 | 4 | -0.37962 | -- | -- | 0.424 | -- | -- | [7 empty] | 17 |  |  | 0.65 |  |  | 180 | 0.38 | 3
138 | 4 | -0.013558 | -- | -- | 0.532 | -- | -- | [7 empty] | 18 |  |  | 0.725 |  |  | 190 | 0.54 | 4
149 | 0 | 34.7893 | -- | -- | 10.8 | -- | -- | [7 empty] | 19 |  |  | 0.747 |  |  | 193 | 0.35 | 3
158 | 0 | 4.6571 | -- | -- | 1.91 | -- | -- | [7 empty] | 20 |  |  | 0.822 |  |  | 208 | <3 | NR
180 | 3 | -0.52875 | -- | -- | 0.38 | -- | -- | [7 empty] | 21 |  |  | 0.85 |  |  | 265 | 0.44 | 4
190 | 4 | 0.013558 | -- | -- | 0.54 | -- | -- | [7 empty] | 22 |  |  | 1.3 |  |  | 274 | 0.97 | 2
193 | 3 | -0.63044 | -- | -- | 0.35 | -- | -- | [7 empty] | 23 |  |  | 1.31 |  |  | 284 | <5 | NR
208 | NR | -- | -- | -- | <3 | -- | -- | [7 empty] | 24 |  |  | 1.91 |  |  | 321 | 0.55 | 4
265 | 4 | -0.32539 | -- | -- | 0.44 | -- | -- | [7 empty] | 25 |  |  | 10.8 |  |  | 323 | 0.35 | 3
274 | 2 | 1.471 | -- | -- | -- | 0.97 | -- | [7 empty] | 26 |  |  | <3 |  |  | 333 | 0.43 | 4
284 | NR | -- | -- | -- | -- | -- | <5 | [7 empty] | 27 |  |  |  | 0.54 |  | 372 | 1.31 | 0
321 | 4 | 0.047452 | -- | -- | 0.55 | -- | -- | [7 empty] | 28 |  |  |  | 0.97 |  | 393 | <1 | NR
323 | 3 | -0.63044 | -- | -- | 0.35 | -- | -- | [7 empty] | 29 |  |  |  | <1 |  | 399 | 0.423 | 4
333 | 4 | -0.35928 | -- | 0.43 | -- | -- | -- | [7 empty] | 30 |  |  |  |  | <5 | 401 | 0.4 | 4
372 | 0 | 2.6234 | -- | -- | 1.31 | -- | --
393 | NR | -- | -- | -- | -- | <1 | --
399 | 4 | -0.38301 | -- | -- | 0.423 | -- | --
401 | 4 | -0.46096 | -- | -- | 0.4 | -- | --

## SpCond
Statistical summary of reported data for standard reference sample P-43 (low ionic-strength constituents)
+3 Fs
+1.5 Fs
MPV
-1.5 Fs
-3 Fs
SUMMARY |  |  | Methods |  |  |  | Statistics |  |  |  |  | SCALE
|  |  | 40 | 41 |  | Method Codes | [5 empty] | min | 36.6889
|  | n = | 4 | 28 | 40 Ion selective electrode |  |  | MPV = | 51.7 | mS/cm |  | max | 66.7111
|  | Minimum = | 47 | 35 | 41 Electrometric |  |  | F-pseudosigma = | 5.0037 |  |  | major | 7.5056
|  | Maximum = | 52.3 | 156 |  |  |  | n = | 32 |  |  | minor | 7.5056
|  | Median = |  | 51.7 |  |  |  | Uh = | 54
|  | F-pseudosigma = |  | 5.1149 |  |  |  | Lh = | 47.25
[12 empty] | Order | 40 | 41 | Lab | RV | Rating
[12 empty] | 1 | 47 |  | 1 | 52.39 | 4
[12 empty] | 2 | 49 |  | 2 | 55.8 | 3
|  |  | Method Codes | [8 empty] | 3 | 52.2 |  | 8 | 52 | 4
Lab | Rating | Z-value | 40 | 41 | [7 empty] | 4 | 52.3 |  | 23 | 43.8 | 1
1 | 4 | 0.1379 | -- | 52.39 | [7 empty] | 5 |  | 35 | 25 | 55 | 3
2 | 3 | 0.81939 | -- | 55.8 | [7 empty] | 6 |  | 38.48 | 33 | 41.5 | 0
8 | 4 | 0.059956 | -- | 52 | [7 empty] | 7 |  | 41.5 | 38 | 44.4 | 2
23 | 1 | -1.5788 | -- | 43.8 | [7 empty] | 8 |  | 43.3 | 45 | 54 | 4
25 | 3 | 0.65951 | -- | 55 | [7 empty] | 9 |  | 43.8 | 59 | 49.7 | 4
33 | 0 | -2.0385 | -- | 41.5 | [7 empty] | 10 |  | 44.4 | 64 | 54.8 | 3
38 | 2 | -1.4589 | -- | 44.4 | [7 empty] | 11 |  | 46.7 | 86 | 38.48 | 0
45 | 4 | 0.45966 | -- | 54 | [7 empty] | 12 |  | 47.5 | 89 | 52.2 | 4
59 | 4 | -0.3997 | -- | 49.7 | [7 empty] | 13 |  | 48.9 | 110 | 48.9 | 3
64 | 3 | 0.61954 | -- | 54.8 | [7 empty] | 14 |  | 49.7 | 113 | 53.9 | 4
86 | 0 | -2.642 | -- | 38.48 | [7 empty] | 15 |  | 50.3 | 138 | 47.5 | 3
89 | 4 | 0.099926 | 52.2 | -- | [7 empty] | 16 |  | 50.4 | 149 | 156 | 0
110 | 3 | -0.55959 | -- | 48.9 | [7 empty] | 17 |  | 50.9 | 158 | 54.2 | 4
113 | 4 | 0.43967 | -- | 53.9 | [7 empty] | 18 |  | 51.4 | 180 | 47 | 3
138 | 3 | -0.83938 | -- | 47.5 | [7 empty] | 19 |  | 52 | 190 | 52.3 | 4
149 | 0 | 20.8445 | -- | 156 | [7 empty] | 20 |  | 52.39 | 193 | 46.7 | 3
158 | 4 | 0.49963 | -- | 54.2 | [7 empty] | 21 |  | 52.5 | 274 | 52.5 | 4
180 | 3 | -0.9393 | 47 | -- | [7 empty] | 22 |  | 53.7 | 284 | 49 | 3
190 | 4 | 0.11991 | 52.3 | -- | [7 empty] | 23 |  | 53.9 | 321 | 50.4 | 4
193 | 3 | -0.99926 | -- | 46.7 | [7 empty] | 24 |  | 54 | 323 | 56 | 3
274 | 4 | 0.15988 | -- | 52.5 | [7 empty] | 25 |  | 54 | 326 | 51.4 | 4
284 | 3 | -0.5396 | 49 | -- | [7 empty] | 26 |  | 54 | 327 | 35 | 0
321 | 4 | -0.25981 | -- | 50.4 | [7 empty] | 27 |  | 54.2 | 333 | 53.7 | 4
323 | 3 | 0.85936 | -- | 56 | [7 empty] | 28 |  | 54.8 | 372 | 54 | 4
326 | 4 | -0.059956 | -- | 51.4 | [7 empty] | 29 |  | 55 | 393 | 43.3 | 1
327 | 0 | -3.3375 | -- | 35 | [7 empty] | 30 |  | 55.8 | 394 | 50.3 | 4
333 | 4 | 0.3997 | -- | 53.7 | [7 empty] | 31 |  | 56 | 399 | 50.9 | 4
372 | 4 | 0.45966 | -- | 54 | [7 empty] | 32 |  | 156 | 401 | 54 | 4
393 | 1 | -1.6788 | -- | 43.3
394 | 4 | -0.27979 | -- | 50.3
399 | 4 | -0.15988 | -- | 50.9
401 | 4 | 0.45966 | -- | 54